## Lead Capture
Qalitex · Supplement Testing Requirement Checklist
USP ¦ cGMP ¦ NSF International Standards
Complete this intake form so our compliance team can tailor your testing roadmap. Fields marked * are required.
A. COMPANY INFORMATION
* Company / Brand Name | Enter legal entity name
* Primary Contact Name | Full name
* Email Address | contact@company.com
Phone Number | +1 (000) 000-0000
Website / URL | https://
Country of Manufacture | e.g. USA, Canada, Mexico
B. PRODUCT INFORMATION
* Product / Brand Name | Enter product name
* Dosage Form | Tablet / Capsule / Softgel / Powder / Liquid / Gummy / Other
* Target Market | US / EU / Canada / Global
# of SKUs | Enter number
Estimated Annual Volume | e.g. 50,000 units / year
C. REQUIRED STANDARDS (check all that apply — click cell to edit)
☐ USP Dietary Supplement Verification |  | ☐ FDA 21 CFR Part 111 cGMP
☐ NSF / NSF Certified for Sport® |  | ☐ Informed Sport / Informed Choice
☐ ISO 17025 Accredited Lab Required |  | ☐ Other (specify in notes)
D. ADDITIONAL NOTES / SPECIAL REQUIREMENTS
Submit to: compliance@qalitex.com ¦ www.qalitex.com ¦ © 2025 Qalitex Inc.

## USP Testing Checklist
Qalitex · USP Testing Checklist
www.qalitex.com ¦ compliance@qalitex.com ¦ Confidential — For Compliance Use Only
# | Test / Parameter | Regulatory Requirement | Test Method | Acceptance Limit | Frequency | Priority | Status | Assigned To | Notes
1 · Identity & Purity
U-01 | Identity Testing | USP <2023> | HPLC, IR Spectroscopy, TLC | Conforms to reference standard | Per batch | Critical | Pending
U-02 | Assay / Potency | USP <2021> / Monograph | HPLC-UV / HPLC-MS | 90.0–110.0% of label claim | Per batch | Critical | Pending
U-03 | Herbal / Botanical Identity | USP <563> | Macroscopic, microscopic, DNA barcoding | No substitution or adulteration | Per ingredient lot | Critical | Pending
U-04 | Impurities & Related Substances | USP <1086> | HPLC-UV gradient | NMT 0.1% individual; 0.5% total | Per batch | Critical | Pending
2 · Contaminant Testing
U-05 | Heavy Metals – Pb, Cd, As, Hg | USP <232> / <233> | ICP-MS | Pb ≤5; Cd ≤5; As ≤15; Hg ≤15 µg/day | Per batch | Critical | Pending
U-06 | Residual Solvents | USP <467> | GC-HS | Class 1: ICH Q3C limits; Class 2: per table | Per batch | Critical | Pending
U-07 | Pesticide Residues | USP <561> | GC-MS/MS, LC-MS/MS | ICH Q3C / EU MRL or NMT 0.1 mg/kg | Per ingredient lot | Critical | Pending
U-08 | Mycotoxins (Aflatoxin B1,B2,G1,G2; Ochratoxin A) | USP <2022> | ELISA / LC-MS/MS | Aflatoxin total ≤4 ppb; Ochratoxin ≤10 ppb | Per lot (botanicals) | Critical | Pending
3 · Microbiological Testing
U-09 | Total Aerobic Microbial Count (TAMC) | USP <61> / <62> | Plate count / MPN | NMT 10³ CFU/g (solid oral) | Per batch | Critical | Pending
U-10 | Total Yeast & Mold Count (TYMC) | USP <61> | Plate count | NMT 10² CFU/g | Per batch | Critical | Pending
U-11 | Specified Organisms (Salmonella, E. coli, S. aureus) | USP <62> | Culture / PCR confirmation | Absent in 10 g | Per batch | Critical | Pending
U-12 | Bile-Tolerant Gram-Negative Bacteria | USP <62> | Selective media | NMT 10² CFU/g | Per batch | Critical | Pending
4 · Physical / Performance Tests
U-13 | Disintegration (tablets / capsules) | USP <701> | Disintegration apparatus | NMT 30 min (uncoated); per spec (coated) | Per batch | Critical | Pending
U-14 | Dissolution | USP <711> | Dissolution Apparatus I or II | NLT 75% in 45 min (Q value) | Per batch | Critical | Pending
U-15 | Hardness & Friability (tablets) | USP <1217> / <1216> | Hardness tester; friabilator | Hardness ≥4 kP; Friability ≤1.0% | Per batch | Critical | Pending
U-16 | Uniformity of Dosage Units | USP <905> | Individual content assay (AV) | AV ≤15.0 | Per batch | Critical | Pending
U-17 | Loss on Drying / Water Content | USP <731> / <921> | Drying oven / Karl Fischer titration | Per monograph specification | Per batch | Critical | Pending
U-18 | pH (liquid / suspension) | USP <791> | Calibrated pH meter | Per product specification | Per batch | Critical | Pending

## cGMP Checklist
Qalitex · cGMP Checklist
www.qalitex.com ¦ compliance@qalitex.com ¦ Confidential — For Compliance Use Only
# | Test / Parameter | Regulatory Requirement | Test Method | Acceptance Limit | Frequency | Priority | Status | Assigned To | Notes
1 · Raw Material Controls (21 CFR 111.70–111.95)
G-01 | Supplier Qualification / CoA Review | 21 CFR 111.75 | Document review; supplier audit | Approved supplier list; CoA on file | Per supplier qualification | Critical | Pending
G-02 | Raw Material Identity Testing (100%) | 21 CFR 111.75(a) | HPLC / NIR / Wet chemistry | 100% identity confirmed per lot | Per incoming lot | Critical | Pending
G-03 | Raw Material Purity / Potency | 21 CFR 111.75(b) | HPLC, ICP-MS | Per approved specification | Per lot or skip-lot program | Critical | Pending
G-04 | CoA Third-Party Verification | 21 CFR 111.75 | Compare supplier CoA vs. in-house result | Match within specification tolerances | Per lot | Critical | Pending
2 · In-Process Controls (21 CFR 111.260)
G-05 | Blend Uniformity / Mixing Time | 21 CFR 111.260 | Thief sampling; RSD calculation | RSD ≤5.0% across 10 sample locations | Per blend batch | Critical | Pending
G-06 | Tablet / Capsule Weight Variation | 21 CFR 111.260 | Analytical balance AQL sampling | AQL 0.65 per MIL-STD-105E or ±5% avg wt | Per compression / fill run | Critical | Pending
G-07 | Fill Weight Checks (in-line) | 21 CFR 111.260 | In-line weight monitoring | ±5% of target fill weight | Every 30 min during run | Critical | Pending
G-08 | Environmental Monitoring | 21 CFR 111.20 | Settle plates; active air sampling | Action limits per validated program | Monthly / per schedule | Critical | Pending
3 · Finished Product Release (21 CFR 111.75)
G-09 | Finished Product Identity & Label Claim | 21 CFR 111.75(c) | HPLC / Colorimetric / appropriate method | Per label claim ± 10% | Per batch before release | Critical | Pending
G-10 | Finished Product Microbiology | 21 CFR 111.75(c) | USP <61> / <62> | Per USP acceptance criteria | Per batch | Critical | Pending
G-11 | Stability / Shelf-Life Testing | 21 CFR 111.87 / ICH Q1A | 40°C/75%RH accelerated; 25°C/60%RH long-term | NLT 90% label claim at expiry; micro within limits | Per product SKU; annually | Critical | Pending
G-12 | Reserve Sample Retention | 21 CFR 111.83 | Physical retention; documented | 1 year past expiry; quantity for 2 full tests | Per finished batch | Critical | Pending
4 · Documentation & Recordkeeping (21 CFR 111.125–111.140)
G-13 | Batch Production Record (BPR) Review | 21 CFR 111.255 | Document review by QA manager | 100% complete; no unauthorized corrections | Per batch | Critical | Pending
G-14 | OOS Investigation | 21 CFR 211.192 / industry guidance | Phase I: lab error; Phase II: process investigation | Documented root cause + CAPA within 30 days | Per OOS event | Critical | Pending
G-15 | Equipment Calibration & Cleaning Records | 21 CFR 111.27 | Schedule review; physical verification | 100% within calibration due dates | Per scheduled interval | Critical | Pending
G-16 | Change Control Review | 21 CFR 111 / cGMP | Change control log review | Regulatory impact assessment completed | Per change event | Critical | Pending

## NSF Testing Checklist
Qalitex · NSF Testing Checklist
www.qalitex.com ¦ compliance@qalitex.com ¦ Confidential — For Compliance Use Only
# | Test / Parameter | Regulatory Requirement | Test Method | Acceptance Limit | Frequency | Priority | Status | Assigned To | Notes
1 · NSF/ANSI 173 – Dietary Supplements
N-01 | Label Claim Verification (All Actives) | NSF/ANSI 173 §6 | HPLC / ICP-MS / method appropriate to analyte | 85–115% of label claim | Per batch; annually ongoing | Critical | Pending
N-02 | Contaminant Screen – Prohibited Substances | NSF/ANSI 173 §7 | Multi-residue LC-MS/MS panel (270+ substances) | Not Detected (ND) | Per batch | Critical | Pending
N-03 | Heavy Metal Profile | NSF/ANSI 173 §7 | ICP-MS | Per USP <232> daily intake limits | Per batch | Critical | Pending
N-04 | Pesticide Multi-Residue Screen | NSF/ANSI 173 §7 | GC-MS/MS + LC-MS/MS | Per Codex / EU MRL; ND where no MRL | Per lot (botanicals); annually (others) | Critical | Pending
N-05 | Microbial Profile | NSF/ANSI 173 §6 | USP <61> / <62> | Per USP acceptance criteria | Per batch | Critical | Pending
2 · NSF Certified for Sport® (Additional Requirements)
N-06 | Banned Substance Screen (WADA List) | NSF Certified for Sport Protocol | LC-MS/MS, GC-MS/MS; 270+ prohibited substances | ND for any WADA 2025 prohibited substance | Per batch | Critical | Pending
N-07 | Stimulants & Masking Agents | NSF Sport Protocol | LC-MS/MS | ND | Per batch | Critical | Pending
N-08 | Anabolic Agents (Steroids, SARMs) | NSF Sport Protocol / WADA | LC-MS/MS high-resolution | ND (<1 ng/g) | Per batch | Critical | Pending
N-09 | Beta-2 Agonists | NSF Sport Protocol | LC-MS/MS | ND | Per batch | Critical | Pending
N-10 | Growth Hormone Secretagogues | NSF Sport Protocol | LC-HRMS | ND | Per batch | Critical | Pending
3 · NSF GMP Registration Requirements
N-11 | Facility GMP Audit | NSF GMP Registration Program | On-site audit by NSF auditor | No critical or major non-conformances | Annual (re-registration) | Critical | Pending
N-12 | Product Formula Review | NSF/ANSI 173 §4 | Document review | All ingredients on NSF Annex A or individually reviewed | Per SKU / per formula change | Critical | Pending
N-13 | Label Review (Claims & Ingredient Listing) | NSF/ANSI 173 §5; 21 CFR 101 | NSF label review checklist | FDA-compliant label; no unauthorized claims | Per label / per revision | Critical | Pending
N-14 | CoA & Testing Records Retention (3 yr) | NSF registration requirement | Records audit | 100% traceable; batch-linked documentation | Annual audit | Critical | Pending
4 · Ongoing Surveillance & Market Samples
N-15 | Annual Market Sample Testing | NSF Certified for Sport program | Purchase retail product; full panel | Passes all certification criteria | Annual per SKU | Critical | Pending
N-16 | Consumer Complaint / Adverse Event Review | NSF registration; 21 CFR 111 | Log review; trend analysis | All AEs documented; CAPA where applicable | Quarterly | Critical | Pending
N-17 | Corrective Action / Preventive Action (CAPA) | NSF registration; ISO 9001 | CAPA log review | All CAPAs closed within defined timelines | Per trigger event | Critical | Pending

## Summary Tracker
Qalitex · Compliance Testing Summary Dashboard
Update Status in each checklist sheet — this tracker provides a snapshot overview
Standard | Total Tests | ✅ Passed | ❌ Failed | ⏳ Pending | — N/A | % Complete
USP Standards | 18 | 0 | 0 | 18 | 0
FDA cGMP | 16 | 0 | 0 | 16 | 0
NSF / NSF Sport | 17 | 0 | 0 | 17 | 0
TOTAL
STATUS KEY: ✅ Passed ❌ Failed 🔄 In Progress ⏳ Pending — N/A